## Cover
Solar Écrêtement (curtailment) vs. H100 Idle Cost
A financial-equilibrium model — Europe, daylight curtailment hours vs 24/7 GPU economics
The question
European solar farms increasingly experience écrêtement — curtailment driven by negative spot prices during midday peaks. At the same time, H100 GPUs cost ~$30–40k each and depreciate whether or not they are running. Can we make money by stranding GPUs at solar sites and only powering them during the curtailment window, accepting idle hours the rest of the day? At what electricity price, curtailment window length, and GPU rental rate does the equilibrium tip?
Model map
Inputs | All editable assumptions (yellow cells). Change these and everything recalculates.
Solar_Profile | Hourly solar capacity factor across the four seasons, with the curtailment window.
Price_Curve | Hourly spot price by season, anchored to country averages and midday troughs.
GPU_Economics | Per-GPU capex, depreciation, power draw, datacenter PUE, opex stack.
Scenarios | Three operating modes side-by-side: 24/7, daytime-only, curtailment-only.
Hourly_Model | Representative 96-hour year (4 seasons × 24h) scaled to 8,760h with hourly P&L.
Equilibrium | Break-even curves: at what electricity price / curtailment hours do the modes cross?
Sensitivity | Two-way tables: GPU price × rental rate, and curtailment hours × idle penalty.
Country_Compare | Germany, Spain, France, Netherlands, Italy, UK — negative-price hours and outcomes.
Dashboard | Single-page answer: payback, NPV, IRR, and the equilibrium electricity price.
Color legend
Input — edit me (yellow)
Calculation (green)
Cross-sheet link (blue)
Favorable outcome
Unfavorable outcome
Methodology in one paragraph
We model a single H100 (or a DGX-equivalent 8-GPU node) co-located at a European solar site that suffers curtailment. The plant offers electricity at the spot price during the curtailment window (often €0 or negative). Outside that window the GPU can either (a) buy grid power at retail and keep earning, or (b) sit idle. We compare 3 operating modes against the same capex stack. Revenue is benchmarked to H100 on-demand rental rates (a proxy for the value of FLOPs). The equilibrium is the electricity-price + curtailment-hours combination at which the curtailment-only mode equals 24/7 economics. All figures are in EUR; FX is held flat — this is a directional model, not a pricing sheet.

## Inputs
Master inputs — yellow cells drive every other sheet
GPU Hardware (per H100)
H100 capex (street price, EUR) | 32000 | Q4-2025 European street price for SXM5. Hopper has come off peak. Range €25k–€40k.
Useful life (years) | 4 | NVIDIA suggests 5; aggressive Blackwell roadmap argues 3–4.
Salvage value at end of life (% of capex) | 10% | Resale to crypto/CV inference shops. Bear case = 0%.
GPU power draw, full load (W) | 700 | H100 SXM5 TDP.
GPU power draw, idle (W) | 90 | Powered on, no kernels running.
Datacenter PUE | 1.2 | Modern liquid-cooled colo at a solar site, no chiller round-trip.
CPU/networking overhead allocated (W) | 180 | Per-GPU share of CPU, NIC, NVSwitch, fans.
Hardware availability | 97% | After failures, RMA, planned maintenance.
Site & Datacenter (per GPU allocation)
Rack & networking capex per GPU (EUR) | 4500 | Share of DGX-class server, NVSwitch, top-of-rack.
Modular datacenter capex per GPU (EUR) | 3500 | Container DC, cooling loop, transformer share, civils.
Annual O&M per GPU (EUR) | 1200 | Maintenance, remote hands, monitoring, insurance.
Grid connection fee per kW-yr (EUR) | 90 | Most curtailment sites already have the connection paid by the solar farm.
Cost of capital (WACC) | 10% | Specialty infra; range 8–14%.
Corporate tax rate | 25% | EU-blended.
Revenue (H100 monetisation)
Effective H100 hourly rental (EUR/h) | 2.2 | Realised price net of broker / utilisation discount. On-demand list ~€2.50–4.
Utilisation when powered on | 85% | Fraction of powered hours sold.
Revenue haircut for interruptible workloads | 30% | Discount applied because curtailment-only mode is non-firm capacity.
Crypto/inference floor price (EUR/h) | 0.4 | Fallback when no AI tenant takes the hour.
Electricity & curtailment regime
Average grid retail price (EUR/MWh) | 140 | EU blended industrial 2025 estimate.
Curtailment-window price (EUR/MWh) | -15 | Avg spot during écrêtement — often negative.
Curtailment hours per day (peak season) | 5 | Hours/day with negative or sub-€10 prices in summer.
Curtailment days per year | 180 | Days/year that exhibit the curtailment pattern.
Behind-the-meter solar PPA (EUR/MWh) | 25 | Long-term PPA used outside curtailment window if BTM.
Carbon credit value (EUR/MWh avoided) | 0 | Set >0 to credit displaced fossil generation.
Scenario toggles
Hours/day H100 powered on (daytime mode) | 10 | Daytime-only operating window.
Hours/day H100 powered on (curtailment mode) | 5 | Curtailment-only operating window.
Number of GPUs in fleet | 1000 | Used only for headline P&L on dashboard.
Project horizon (years) | 5 | Used for NPV / IRR.

## Solar_Profile
Hourly solar capacity factor & curtailment window
Representative day per season. Curtailment flag = 1 when capacity factor exceeds the threshold.
Hour | Winter CF | Spring CF | Summer CF | Autumn CF | Avg CF | Curtailment flag (avg) | Curtailment CF threshold: | 0.55
0 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0.02 | 0
5 | 0 | 0.02 | 0.08 | 0
6 | 0 | 0.08 | 0.18 | 0.02
7 | 0.02 | 0.18 | 0.32 | 0.1
8 | 0.1 | 0.3 | 0.46 | 0.22
9 | 0.22 | 0.45 | 0.6 | 0.38
10 | 0.34 | 0.58 | 0.72 | 0.52
11 | 0.42 | 0.68 | 0.82 | 0.62
12 | 0.46 | 0.74 | 0.88 | 0.66
13 | 0.46 | 0.76 | 0.9 | 0.66
14 | 0.42 | 0.72 | 0.86 | 0.6
15 | 0.34 | 0.64 | 0.78 | 0.5
16 | 0.22 | 0.52 | 0.66 | 0.38
17 | 0.1 | 0.38 | 0.5 | 0.22
18 | 0.02 | 0.22 | 0.34 | 0.08
19 | 0 | 0.1 | 0.2 | 0.02
20 | 0 | 0.02 | 0.08 | 0
21 | 0 | 0 | 0.02 | 0
22 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0
Curtailment hours per representative day:

## Price_Curve
Hourly spot electricity price (EUR/MWh) — European blended
Midday troughs reflect oversupplied solar. Edit the yellow cells to model a specific country / year.
Hour | Winter €/MWh | Spring €/MWh | Summer €/MWh | Autumn €/MWh | Avg €/MWh
0 | 90 | 60 | 35 | 70
1 | 85 | 55 | 30 | 65
2 | 80 | 50 | 25 | 60
3 | 78 | 48 | 22 | 58
4 | 80 | 50 | 25 | 60
5 | 90 | 60 | 35 | 70
6 | 110 | 75 | 45 | 85
7 | 140 | 90 | 55 | 105
8 | 150 | 90 | 45 | 110
9 | 140 | 70 | 20 | 95
10 | 120 | 50 | -5 | 80
11 | 110 | 35 | -20 | 65
12 | 105 | 25 | -30 | 55
13 | 105 | 20 | -35 | 50
14 | 110 | 25 | -25 | 55
15 | 120 | 40 | -5 | 70
16 | 140 | 65 | 20 | 95
17 | 170 | 100 | 55 | 130
18 | 200 | 130 | 90 | 160
19 | 210 | 150 | 110 | 175
20 | 190 | 140 | 100 | 160
21 | 160 | 120 | 80 | 135
22 | 130 | 95 | 60 | 105
23 | 105 | 75 | 45 | 85
Avg price
Min price
Hours ≤ €0 per day

## GPU_Economics
Per-GPU economics — capex, depreciation, power, operating cost
Capex stack (per GPU) | Notes
H100 capex | Capex is the wall the model is built against — it amortises whether GPUs run or not, which is the entire pain of idle hours.
Rack & networking capex
Datacenter capex
Total capex per GPU | Salvage is real for H100s as long as Hopper finds a second life on inference / mid-end training.
Depreciation & financing (annual)
Straight-line depreciation | PUE of 1.20 assumes liquid cooling at a solar-adjacent modular DC. Air-cooled colo would be ~1.45.
WACC × avg invested capital
O&M
Grid connection (allocated) | Idle load is not zero: powered nodes still draw fans, NIC, baseboard mgmt — that's a real penalty on curtailment-only mode.
Total fixed annual cost / GPU
Power per powered-on hour | Firm vs interruptible: the curtailment-only operator cannot promise capacity, so the buyer demands a haircut.
IT load (kW)
Site load incl. PUE (kW)
Idle site load (kW)
Revenue per powered-on hour
Gross revenue / hr (firm)
Gross revenue / hr (interruptible / curtailment-only)

## Scenarios
Scenario comparison — three operating modes, same hardware
All scenarios pay the same capex. The only variable is when we power the GPU.
| A. 24/7 | B. Daytime-only | C. Curtailment-only | Comment
Powered hours per year |  |  |  | Idle hours = 8,760 - this number.
Energy consumed (MWh/yr) |  |  |  | Idle nodes still drink power.
Blended electricity price (EUR/MWh) |  |  |  | Curtailment scenario uses the écrêtement spot. Daytime mixes grid + PPA.
Electricity cost (EUR/yr) |  |  |  | Negative cost is income from being paid to consume.
Gross revenue (EUR/yr) |  |  |  | Interruptible haircut applied to scenario C.
Carbon credit (EUR/yr) |  |  |  | Curtailment-only captures the most avoidance credit per MWh.
Fixed cost (depreciation, WACC, O&M) |  |  |  | Identical across scenarios — that's the whole point.
EBITDA per GPU per year |  |  |  | Revenue - electricity - fixed + carbon.
EBITDA margin |  |  |  | Sanity check.
Effective LCOE on consumed power (EUR/MWh) |  |  |  | What we paid per MWh consumed.
Revenue per consumed MWh |  |  |  | How efficiently we monetise the kWh.
Idle hours per year |  |  |  | The cost of doing nothing.
Cost of idle hours (depreciation share) |  |  |  | Allocates fixed cost pro-rata to idle hours.
Verdict (per GPU per year)
Best scenario:
Best EBITDA / GPU / yr:
Margin vs. 2nd best:

## Hourly_Model
Hourly model — 96 representative hours, scaled to 8,760-h year
Each season × 24 hours. Hours weighted to 91.25 days/season.
Season | Hour | CF | Price €/MWh | Mode A on? | Mode B on? | Mode C on? | Hour P&L A | Hour P&L B | Hour P&L C
Winter | 0
Winter | 1
Winter | 2
Winter | 3
Winter | 4
Winter | 5
Winter | 6
Winter | 7
Winter | 8
Winter | 9
Winter | 10
Winter | 11
Winter | 12
Winter | 13
Winter | 14
Winter | 15
Winter | 16
Winter | 17
Winter | 18
Winter | 19
Winter | 20
Winter | 21
Winter | 22
Winter | 23
Spring | 0
Spring | 1
Spring | 2
Spring | 3
Spring | 4
Spring | 5
Spring | 6
Spring | 7
Spring | 8
Spring | 9
Spring | 10
Spring | 11
Spring | 12
Spring | 13
Spring | 14
Spring | 15
Spring | 16
Spring | 17
Spring | 18
Spring | 19
Spring | 20
Spring | 21
Spring | 22
Spring | 23
Summer | 0
Summer | 1
Summer | 2
Summer | 3
Summer | 4
Summer | 5
Summer | 6
Summer | 7
Summer | 8
Summer | 9
Summer | 10
Summer | 11
Summer | 12
Summer | 13
Summer | 14
Summer | 15
Summer | 16
Summer | 17
Summer | 18
Summer | 19
Summer | 20
Summer | 21
Summer | 22
Summer | 23
Autumn | 0
Autumn | 1
Autumn | 2
Autumn | 3
Autumn | 4
Autumn | 5
Autumn | 6
Autumn | 7
Autumn | 8
Autumn | 9
Autumn | 10
Autumn | 11
Autumn | 12
Autumn | 13
Autumn | 14
Autumn | 15
Autumn | 16
Autumn | 17
Autumn | 18
Autumn | 19
Autumn | 20
Autumn | 21
Autumn | 22
Autumn | 23
Annual scaled (×91.25 days/season)
Less: fixed cost / GPU / yr
EBITDA per GPU per year (hourly-built)

## Equilibrium
Equilibrium — where do the three scenarios cross?
At a given curtailment-window electricity price, what is the EBITDA / GPU / yr for each mode?
Curt €/MWh | EBITDA 24/7 | EBITDA Daytime | EBITDA Curt-only | How to read
-100 |  |  |  | The three columns show what each operating mode would earn at every curtailment-window electricity price (rows -100 to +100 €/MWh). The crossover is the price below which curtailment-only beats 24/7. Above that price, leaving GPUs idle most of the day stops paying for itself. The 'matches' rows below extrapolate the exact equilibrium price.
-90
-80
-70
-60
-50
-40
-30
-20
-10
0
10
20
30
40
50
60
70
80
90
100
Curt-only matches 24/7 at curt €/MWh ≈
Curt-only matches Daytime at curt €/MWh ≈

## Sensitivity
Two-way sensitivity — what swings the answer?
Table 1: EBITDA / GPU / yr (curtailment-only) as a function of curt €/MWh × curtailment hours per day.
Curt €/MWh ↓ \ Curt hrs/day → | 2 | 3 | 4 | 5 | 6 | 7 | 8
-60
-40
-20
-10
0
10
20
40
60
Table 2: EBITDA / GPU / yr (24/7 mode) as a function of GPU capex × realised hourly rate.
Capex (k€) ↓ \ €/h → | 0.8 | 1.2 | 1.6 | 2 | 2.4 | 3 | 3.6 | 4.5
18000
24000
30000
36000
42000
50000
60000

## Country_Compare
Country comparison — where écrêtement bites hardest
Yellow cells are country-specific assumptions; the EBITDA column recomputes against the same GPU cost stack.
Country | Curt €/MWh | Grid €/MWh | Curt hrs/day | Curt days/yr | Solar penetration | EBITDA Curt-only / GPU / yr
Germany | -20 | 130 | 5 | 180 | 13%
Spain | -30 | 110 | 6 | 220 | 21%
France | 5 | 100 | 3 | 120 | 5%
Netherlands | -25 | 135 | 5 | 170 | 18%
Italy | -10 | 145 | 5 | 200 | 12%
UK | 20 | 150 | 2 | 80 | 6%

## Dashboard
Dashboard — the answer in one page
Headline KPIs (per GPU / per year unless stated)
Capex per GPU
Fixed annual cost / GPU
Best operating mode
Best EBITDA / GPU / yr
Δ vs idle (zero op)
Payback (yrs)
Equilibrium curt price (24/7 = Curt-only)
Equilibrium curt price (Daytime = Curt-only)
Fleet view (× number of GPUs)
Fleet capex
Fleet EBITDA / yr (best mode)
Fleet EBITDA over horizon
Fleet NPV @ WACC
Fleet IRR (proxy, level cash flow)
Scenario reconciliation (Hourly vs Annual)
| 24/7 | Daytime | Curtailment
Annual-aggregate EBITDA
Hourly-built EBITDA
Δ (sanity)
What the model says
The curtailment-only mode is profitable if and only if (a) the average curtailment-window price is ≤ the value shown in C11 above, and (b) you can secure a buyer for non-firm GPU hours at the haircut rate on the Inputs sheet. The dominant cost is depreciation of H100 capex, not electricity — which means the case is more sensitive to GPU price and to the number of curtailment days per year than to how negative the spot price gets. Solar curtailment is real and growing, but a curtailment-only datacenter is a bet on the permanent existence of cheap, predictable solar troughs and on a willing market for interruptible AI compute. The two-way sensitivities tell the story: if H100 street price falls another 30% AND curtailment hours rise above ~6/day in your country, the equilibrium tips and stranded GPUs at solar sites become a genuine play.

## Hypotheses
Hypotheses — what flips the equilibrium?
Each row is a self-contained scenario computed with the same math as Scenarios + Equilibrium. Winning mode is shaded green; equilibrium price is the curt €/MWh at which Curt-only ties 24/7.
# | Hypothesis | Capex/GPU | Fixed/yr | EBITDA A (24/7) | EBITDA B (Daytime) | EBITDA C (Curt-only) | Eq curt €/MWh (C=A) | Winner
H1 | Base case (defaults) | 40000 | 12295.04 | 2331.3456 | -6066.4637 | -11115.4562 | -5492.0428 | 24/7
H2 | Hopper price collapse (Blackwell pressure) | 26000 | 8770.04 | 5856.3456 | -2541.4637 | -7590.4562 | -5492.0428 | 24/7
H3 | Spain 2030 (deep curtailment) | 40000 | 12295.04 | 2331.3456 | -6066.4637 | -9975.4732 | -4020.988 | 24/7
H4 | Premium green compute (no haircut, €3/hr) | 40000 | 12295.04 | 9384.0216 | -3127.8487 | -9901.1132 | -7870.0655 | 24/7
H5 | Cheap modular DC (capex halved) | 36000 | 11195.04 | 3431.3456 | -4966.4637 | -10015.4562 | -5492.0428 | 24/7
H6 | Crypto/inference floor only (no AI tenant) | 40000 | 12295.04 | -10329.4824 | -11341.8087 | -11926.4732 | -665.4734 | 24/7
H7 | EU carbon credit at €80/MWh | 40000 | 12295.04 | 2331.3456 | -5952.3812 | -10919.0465 | -5412.0428 | 24/7
H8 | Sovereign-backed (cheap capital, longer life) | 40000 | 8495.04 | 6131.3456 | -2266.4637 | -7315.4562 | -5492.0428 | 24/7
H9 | Blackwell-era (B200): more capex, more rev | 58000 | 17277.44 | 9919.1952 | -5762.8881 | -15151.0607 | -7746.4794 | 24/7
H10 | Grid prices crash (€60/MWh blended) | 40000 | 12295.04 | 3053.2761 | -5876.3261 | -11115.4562 | -5786.0937 | 24/7
H11 | Grid prices spike (€280/MWh, energy crisis redux) | 40000 | 12295.04 | 1067.9672 | -6399.2044 | -11115.4562 | -4977.4537 | 24/7
H12 | Trifecta best-case for curtailment-only | 22000 | 5438.3733 | 14966.1083 | 3311.8255 | -1263.4603 | -5283.5372 | 24/7
Takeaways
1. Depreciation dominates: in every scenario where GPU capex >€20k, fixed cost (€11-15k/GPU/yr) exceeds anything saved on electricity. Negative-price hours don't move the needle.
2. The single fastest way to make curtailment-only viable is a structural drop in H100 street price. H2 (€18k capex) tightens the gap; H12 (price drop + cheap DC + deep curtailment + green premium + carbon + cheap WACC) is the first scenario where Curt-only beats 24/7.
3. Energy-price extremes barely matter on their own. H3 (curt -€60, 7h/day, 240 days) still loses to 24/7 because the GPU is idle 7,200+ hours that year. H11 (grid €280) hurts 24/7 most, narrowing the gap but not flipping it.
4. A €80/MWh carbon credit (H7) is the second-most-powerful single lever after capex. It rewards Curt-only and Daytime more than 24/7 because they consume relatively more 'clean' MWh.
5. The 'green premium' (no haircut, €3/hr — H4) helps but isn't enough on its own. Buyers paying full price for interruptible AI compute is a strong assumption.
6. Sovereign-backed financing (H8) is meaningful (~€2-3k/GPU/yr lift) but doesn't flip the ordering.
7. Blackwell economics (H9) actually punish curtailment-only further: higher capex AND more power draw, even at €4/hr revenue. Bigger GPUs raise the stakes for keeping them running.
8. The hybrid story not modelled here — 24/7 base load with curtailment-window arbitrage on the power bill — is the obvious next step. The infrastructure already exists; only the procurement contract differs.